## Slide 1: National portfolio assessment for reallocations
Brad Hudgens, PE, D.WRE
USACE Institute for Water Resources
October 30, 2020

## Slide 2: WHERE we’ve been
Beginning in FY 2008
  Collection and assessments of data related to:
    Needs for water supply storage reallocation studies
    Existing water supply agreements
    Operational changes to Corps reservoir projects
    Reservoir sedimentation
    Uncertainty in future conditions affecting reservoir operations
  Alternatives for funding reallocation studies
FY 2016 Report: Status and Challenges for USACE Reservoirs
FY 2015 – FY 2017: initial assessments of potential reallocation studies

## Slide 3: Example Assessment of Data Product: Reservoir Storage Space in the U.S.
465 Dams [1]
83,000 Dams
Conservation
Flood
Storage in 465 Dams [1]
(USACE)
(USACE)
(Sec. 7)
[2]
Sec. 7 [2]
(Reallocated)
(Original)
USACE M&I
Water Supply Agreements
Notes:
[1] 465 multipurpose reservoir projects
with flood risk management storage
controlled by USACE
[2] “Section 7” projects are owned by other
agencies, but USACE prescribes operating
rules for flood risk management

## Slide 4: Training and tools for reallocation studies
Training for reallocation studies
  Water supply alternatives formulation
  Water demand forecasting
  Storage-yield analyses
ECB 2019-13 “Methods for Storage-Yield Analysis”
Improvements to HEC-ResSim
Notes: ECB – “Engineering and Construction Bulletin”

## Slide 5: What we’re working on now
Continuing improvements to HEC-ResSim
Response to GAO Report 17-500, “Better Data Needed on Water Storage Pricing”, recommendations #1 and #2
IWR Report: “Technical Considerations in Storage Accounting”
Risk-informed yield analyses
Scoping update to the 1996 Institute for Water Resources Water Supply Handbook

## Slide 6: Technical considerations in storage accounting?

## Slide 7: Technical considerations in storage accounting
Yield of Each User:
WS 1 – 245 cfs
WS 2 – 489 cfs
USA – 896 cfs
Total = 1,630 cfs

## Slide 8: Technical considerations in storage accounting
Yield of Each User: Case 1: Case 2:
WS 1 – 245 cfs WS 1 – 245 cfs
WS 2 – 489 cfs WS 2 – 600 cfs
USA – 896 cfs USA – 896 cfs
Total = 1,630 cfs

## Slide 9: Risk-informed yield analyses?
ECB 2019-13 reviews methods for evaluating the reliability of firm yield.
EM 1110-2-1420 proposes a Shortage Index (SI):
Notes: ECB – “Engineering and Construction Bulletin”
EM – “Engineer Manual”

## Slide 10: What we’re working on now
Continuing improvements to HEC-ResSim
Response to GAO Report 17-500, recommendations #1 and #2
IWR Report: “Technical Considerations in Storage Accounting”
Risk-informed yield analyses
Scoping update to the 1996 Institute for Water Resources Water Supply Handbook

## Slide 11: Questions?
Technical
Analyses
Value of Project Outputs
USACE Authorities & Policies
Congress &
Administration
Stakeholders
Reallocation Decision?